Iraqi National Journal of Chemistry

Journal homepage: http://iqnjc.com/Default.aspx

Spectrophotometric Determination of Metochlopramide in itsPharmaceutical Preparations using Diazotization Coupling Reaction

Assistant Professor  Wasan Abdulameer Al-Uzri1, Lecturer Dr.Hind Hadi2,LecturerGhadah Fadhel3

Department of Chemistry ,College of Science, University of Baghdad ,Baghdad ,Iraq

- 1E-mail :wasanuzri67@ yahoo. Com

- 2E-mail :Hindhadi13@yahoo.com

- 3E-mail :ghadaalhakim@yahoo.com

Abstract: Simple and direct spectrophotometric method for quantitative estimation of metoclopramide hydrochloride (MTP) in pure and pharmaceutical dosage forms was adopted. The established method is based on a diazotization coupling reaction between diazotized MTP with new coupling reagent, 7-iodo-8-hydroxyquinoline5-sulphonic acid in alkaline medium. An intense red, water-soluble dye that is very stable and has a maximum absorption at 510 nm had been obtained. Regression analysis of Beer’s law plot showed good correlation in the concentration range 0.4-12μgml-1 with a molar absorbtivity of 1.91×105 L mol-1cm-1 and Sandell's sensitivity of 0.0018g.cm-2. The proposed method was successfully applied to the determination of MTP in its pharmaceutical formulations.

- Introduction

- Metoclopramide hydrochloride(Figure1), which is chemically named as 4-amino-5-chloro-2-methoxy-N-(2-diethylamino-ethyl) hydrochloride, is a dopamine-receptor antagonist. It isa prokinetic and antiemetic drug used in disorders of decreased gastrointestinal motility as wellas in gastro esophageal reflux disease, dyspepsia, and for the prevention of cancer chemotherapy-induced vomiting[1].Metoclopramide is also beneficial for diabetic patients who have poor emptying of their stomachs. Treating gastro paresis can decrease symptoms of nausea, vomiting, and stomach/abdominal fullness[2].

- Fig.1: Metoclopramide hydrochloride

- In literature survey, several methods for the analysis and determination of MTP in different samples were reported, include reversed phase ultra performance liquid chromatography (RP-UPLC)[3],flow injection based on KMnO4-HCHO chemiluminescence in a micellar medium[4],Liquid chromatography-Mass spectrometry(LC-MS)[5],spectrofluorimetric using Eu3+ ion doped in sol–gel matrix[6],high-performance liquid chromatography[7],Stripping voltammetry[8,9],and spectrometry[10-16].However the direct spectrophotometric methods which reported for the analysis of MTP are still few. This research describes new spectrophotometric method for determination of MTP by the diazotization-coupling reaction with new reagent(7-iodo-8-hydroxyquinoline5-sulphonic acid )in alkaline medium. The method was found to be useful for assay our target drug, because it produced stable coupling organic product rapidly, with high sensitivity. In addition this method gave good recoveries when applied for the determination of MTP hydrochloride in pure and pharmaceutical preparations.

2.Experimental

2.1. Apparatus

All spectral and absorbance measurementswere performed on an Optima SpectrophotometerUV-VIS (Japan) double-beam and using 1 cmquartz cells.

2.2. Preparation of solutions

- Metoclopramide hydrochloridestock standardsolution (1000 μg mL-1= 2.8×10-3 M) wasprepared by dissolving 0.1000 g of pure MTP(SDI) in distilled water and made up to 100 mLvolumetric flask with the same solvent. Workingstandard solutions were prepared by suitabledilution of the stock standard solution withdistilled water.

- Sodium nitrite solution (2.82×10-3 M) wasprepared by dissolving 0.0486 g of sodiumnitrite (Merck) in distilled water and diluting tothe mark in 250 mL volumetric flask.

- Hydrochloric acid solution (1M) was prepared by diluting 43mL of 11.64 M of concentrated hydrochloric acid (BDH) with distilled water in500 mL volumetric flask.

- 7-Iodo-8-hydroxyquinoline 5-sulphonic acid solution (2.848×10-4M)was prepared by dissolving 0.1000 g of reagent(BDH) in distilled water and diluting to the mark in 100 mL volumetric flask with the same solvent.

- Ammonium hydroxide solution (1M) was prepared by diluting 8.5mL of 11.77Mof concentrated ammonium hydroxide (Fluka) with distilled water in 100 mL volumetric flask and working solutions were prepared by appropriate dilution of the stock solution.

- Samples of metoclopramide hydrochloride solution obtained from commercial sources:

Tablets samples  (MTP):  An accurately weighed amount (20 powdered tablets of MTP/Actavis, UK-10mg and/or  Meclodine/SDI,Iraq-5mg) equivalent  to 50  mg of  the  pure  drug  was  dissolved  into  a  100 mL  of  distilled water and completed to the mark with the same solvent  to obtain 500 μg mL-1of  MTP. The flask with its contents was shacked well and filtered.  A sample of 200 µg of MTP in a final volume of 25 mL was taken and the measurements were carried out as described under general procedure.

2.3. General procedure

An increasing amount of a standard solution (1000 μg mL-1=2.82×10-3 M) containing 10-300μg of MTP was transferred into series of 25 mL volumetric flasks. In order to diazotize MTP, equimolar of sodium nitrite solution (2.82×10-3 M) was addedwith2mL of 0.1 M hydrochloric acid solution. The solution was shaken carefully then, 2mL of 2.848×10-4 M of 7-iodo-8-hydroxyquinoline 5-sulphonic acid was transferred and 5mL of 0.1M ammonium hydroxide solution was added and the contents were diluted to the mark with distilled water.After 5min, the absorbance of the red colored azo dye was measured at 510nm against theanalogous reagent blank.

2.4. Results and discussion

2.4.1. Absorption spectra

When a very diluted aqueous solution of diazotized MTP was mixed with 7-iodo-8-hydroxyquinoline 5-sulphonic acid in alkaline medium, an intense red dye produced directly, which became stable after 5min and remain stable for 2 hour at least and have a maximum absorption at 510nm . Figure2 shows the spectra of the product formed .

Sample

Blank

Fig.2: Absorbance spectra of MTP (8 μg mL-1) measured against blank and the reagent blank measured against distilled water

2.4.2.Study of the experimental conditions

The effects of various parameters on formation of the product and the absorption intensity were studied and optimized . A 8μg mL-1 of MTP was used in all optimization experiments.

- Effect of acid used in diazotization process

Acidic medium is very essential for accomplishment the diazotization reaction. For that reason the effects of different prepared acids solutions (0.1M) were examined such as hydrochloric acid, nitric acid, sulfuric acid and acetic acid. The results showed that nitric acid gave more sensitivity but less stable response than HCl, therefore hydrochloric acid was the most suitable acidic medium and was used in all subsequent experiments (Figure3).

Fig.3: Effect of the type of acid

Consequently the effect of various volumes of hydrochloric acid (0.1M) were optimized on the maximum absorbance by changeable the volume of HCl and fixing the other parameters(MTP and NaNO2 (2.28×10-3 M)) and highest absorbance was obtained with 2mL of acid and was chosen for further use (Figure 4).

Fig.4: Effect of the volume of HCl (0.1M)

- Effect of the basic medium(type and volume)

After experimentation of a different medium in order to increase intensity of the reaction, the experiments indicated that the alkaline medium is necessary for developing a more intense color. Accordingly, a different alkaline solutions(0.1M) of sodium hydroxide, potassium hydroxide, ammonium hydroxide and sodium carbonate were examined .With regard to Figure 5, it was clear that the ammonium hydroxide was the appropriate alkaline medium for a maximum absorbance and was used in all next experiments.

Fig. 5: Effect of bases

Effect of different volumes of ammonium hydroxide (0.1M) was studied on the intensity of colored product by varying the volume of the base solution between (0.3-7mL) with fixing the other parameters. A volume of 5mL of ammonium hydroxide (0.1M) was enough to obtain the maximum absorbance (Figure6).

Fig.6:Effect the volume of base

- Effect of coupling reagent concentration

Until now the literature contains no method used 7-iodo-8-hydroxyquinoline 5-sulphonic acid as a chromogenic coupling agent for determination of drugs, therefore this reagent and in addition for its sensitivity was used for our adopted reaction. Different volumes of reagents (7-iodo-8-hydroxyquinoline 5-sulphonic acid (2.848×10-4M) was studied in the range of (0.5-4mL) with fixing the volumes of HCl and NH4OH. The greatest absorbance intensity was obtained with2mL of 7-iodo-8-hydroxyquinoline 5-sulphonic acid Figure 7).

Fig.7:Effect of the volume of reagent (7-iodo-8-hydroxyquinoline 5-sulphonic acid(2.848×10-4M)

- Order of addition of reagents

The order of reagents addition is very important, so different orders of addition of reagents were examined and it was found that the order of addition of reagents by mixing MTP with sodium nitrite then HCl, 7-iodo-8-hydroxyquinoline 5-sulphonic acid and ammonium hydroxide gave the highest absorbance and was used in all later experiments.

- Effect of reaction time and color stability

The resultant colored product of the proposed method was found to be formed rapidly and immediately, but the color intensity reached a maximum after 7-iodo-8-hydroxyquinoline 5-sulphonic acid solution has been reacted with diazotized MTP ,in alkaline medium for 5min, therefore a 5 min development time was selected as optimum in the general procedure. The color obtained was stable for 2hr.

2.5. Composition of the product

Continuous variation and mole ratio methods [17], had been established under the recommended optimum conditions in order to study the composition of the formed complex between diazotized MTP and 7-iodo-8-hydroxyquinoline 5-sulphonic acid. The results obtained in (Figure 8) and (Figure 9) show that a 1:1 azo dye was formed between diazotized MTP and reagent at 510nm.

Fig.8: Mole ratio plot                     Fig.9: Continuous variation plot

2.6. Mechanism of reaction

Usually two steps are required to accomplish the diazotization coupling reaction. The first step is conversion the amino compound (MTP) to diazo compound by reaction with nitrous  acid (NaNO2/HCl), while the second step involves a coupling between diazotized drug and the coupling reagents[18]. The red dye product was only formed in alkaline medium (ammonium hydroxide). According to mentioned  mole ratio and continuous variation  results,  and  the  obtained  ratios,  the  reactions  pathway  were postulated to proceed as shown in scheme1[19,20].

Scheme 1: proposed mechanism of the proposed reaction

2.7. Determination of stability constant of complex

The apparent  stability[21] constant  of the method  was calculated by comparing the  absorbance  of  a solution  containing  stoichiometric  amount (1.128× 10-3M) of diazotized MTP and reagent (7-iodo-8-hydroxyquinoline5-sulphonic acid)(AS) with  that  of  a  solution  containing  a  five- fold excess  of  reagents(Am) and according  to  analytical  procedure. The  average stability constants were (K) = 2.716 × 104  L mol-1, where [K = (1-α) / α2C ; α = (Am − As) / Am].

2.8. Analytical characteristics and validation of method

Calibration graph (Figure10) for the proposed method, were obtained by the procedure described before in which a sequence of standard solutions were analyzed in triplicates to test the linearity. All the analytical characteristics, like the slope (a), the intercept (b), and the correlation coefficient(r) were validated by a least-squares regression analysis and are incorporated in Table (1). The linearity for method was also obtained and the value of molar absorbtivity insures that the method was sensitive for determination of MTP.

Fig.10: Calibration graphs of MTP

Table 1: Analytical parameters of spectrophotometric method

| Parameters | Value |
| --- | --- |
| λmax(nm) | 510 |
| Linearity range, µg mL-1 | 0.4-12 |
| Molar absorbtivity,ε (L mol-1 cm-1) | 1.91×105 |
| Sandell's sensitivity(µg mL-1) | 0.0018 |
| Regression equation | y = 0.056x + 0.015 |
| Correlation coefficient, r | 0.9987 |
| Linearity percentage, r2% | 99.74 |
| Slope, b | 0.056 |
| Intercept, a | 0.015 |
| Relative standard deviation (RSD%) | <1.11 |
| Average of recovery% | 100.5 |
| Stability (hr) | 2 |
| Molar ratio (D:R) | 1:1 |
| Limit of detection(LOD) , µg mL-1 | 0.036 |

2.9. Accuracy and precision of the proposed method

Using  the  optimum  conditions obtained  from previous experiments,  the  accuracy  and  precision  of  the  proposed method was  studied  using  two concentrations of MTP. Table2  shows the results  of Error%,  Rec.%,  and  RSD%  of  four  replicates  of  each  concentration.

Table 2: Accuracy and precision of the proposed methods

| Conc. of MTP, μg mL-1 |  | E%* | Rec.%* | RSD%* |
| --- | --- | --- | --- | --- |
| Present | Found |  |  |  |
| 4.00 | 4.08 | 2.00 | 102.00 | 0.96 |
| 10.00 | 9.88 | -1.20 | 98.80 | 1.11 |

*Average of four determinations.

2.10. Estimation of MTP in tablets

The proposed method was applied for the estimation of MTP in tablets by the analysis of one concentration for each sample using the recommended procedure, and the quantity per tablet was calculated from the standard calibration curve(direct method) and standard addition method (SAM).Solutions of tablets were prepared as given below the section 2.2, and the results obtained are summarized in Table3.

Table 3: Application of the proposed method for determination of MTP in pharmaceutical preparations

| Drug form | Direct method |  |  |  |  | SAM method |
| --- | --- | --- | --- | --- | --- | --- |
|  | Conc. of MTP, μg mL-1 |  | E%* | RSD%* | Rec.%* | Rec.% |
|  | Present | Found |  |  |  |  |
| Meclodine/SDI,Iraq-tab.5mg | 6.00 | 5.93 | -1.17 | 1.29 | 98.83 | 98.75 |
| Actavis,UK-tab.10mg | 4.00 | 3.77 | -5.75 | 2.87 | 94.25 | 96.25 |

*Average of four determinations

The applicability of the proposed method for the estimation of MTP in tablets and using both direct and standard addition methods were statistically compared with those obtained by the British Pharmacopoeia(BP)procedure (HPLC method=official method)[22] using two tests the Student t-test and variance ratio F-test (confidence level at 95%)[23].The obtained results are summarized in Table4. In all cases, the calculated F and t values did not exceed the theoretical values, indicating that there is no considerable difference between the performance of the proposed method with official method as regard accuracy(t-test) and precision (F-test).

Table 4: The comparison of the proposed method with standard method using t- and F-statistical tests

| Drug form | Proposed method |  | Official method(BP) |  |
| --- | --- | --- | --- | --- |
|  | Rec.% (Xi1 Direct method | Rec.% (Xi1 SAM |  | Rec. (Xi2 |
| Pure MTP | 100.49 | 100.00 |  | 100.500 |
| Meclodine | 98.83 | 98.75 |  | 102.500 |
| Actavis | 94.25 | 96.25 |  | 98.500 |
| S** | 2.782 | 1.955 |  | =4.00) |
| t (2.776)* | 0.992 | 1.357 |  | (n1 + n2 – 2) = 4 |
| F (19.000)* | 2.869 | 1.097 |  | (n1 – 1) = 2,(n2 – 1) = 2 |

*Theoretical value.

**s = pooled standard deviationn1−1S12+n2−1S22n1+n2−2   ,t =X1−X2S1n1+1n2,S12=variation=∑

In addition a paired t-test [23] was conducted between the samples from three sources determined by either method of analysis (using direct and standard addition methods in applications)with standard method(BP) as shown in Table 6. The t-value(ttab) for n-1 degree of freedom = 4.303. Calculated t-value=2.307  (using standard addition method for analysis MTP tablets) for n-1 at α 0.05 (95%),two tailed indicate that since 2.307 <<4.303 therefore; it can be regarded that there is no difference in using the two methods. The recovery results of direct method were examined and the results were summarized in Table 5.

Table 5: Paired t-test for proposed methods with classical method

| Sample | Recovery found |  | Xd | Xd | σn−1 | tcal=Xn /σn−1 at 95% | ttab at 95% |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | SAM | Classical method |  |  |  |  |  |
| Pure MTP | 100.00 | 100.500 | 0.500 | 2.167 | 1.627 | 2.307(1.866)*<<4.303 |  |
| Meclodine | 98.75 | 102.500 | 3.750 |  |  |  |  |
| Actavis | 96.25 | 98.500 | 2.250 |  |  |  |  |

Xd: difference between two methods, Xd:Differencemean, σn−1:Difference SD,tcritical=ttab=tα2,n−1=4.303,n=no. of sample

*For direct method

Conclusions

This research offers new spectrophotmetric method using new reagent (7-iodo-8-hydroxyquinoline 5-sulphonic acid) as chromogenic agent for determination of MTP drug. The developed method is very effortless and effective for the determination of MTP in its dosage forms at a microgram concentration level and without requiring any complicated steps. In addition the present method, as compared with other expensive techniques such as HPLC-MS, GC, fluorimetry, electro sensors and capillary electrophoresis, are economical and cheap and have an excellent accuracy and precision.

References

1-American Hospital Formulary Service: Drug Information 1989.American Society of Hospital Pharmacists, Inc., Bethesda, MD, p. 1622

2-http://www.webmd.com/drugs/2/drug-8679/metoclopramide-oral/details

3-P.Sowjanya, P.Shanmugasundaram, P. Naidu, S. K.Singamsetty, J. Pharm. Res. 6(7), 2013, 765–773.

4-B.Jia, Y.Li, C. Liu, K. Li, Y. Qi, J. Luminescence.130(11),2010, 2188–2191.

5-M. Yan, H. Li, B. Chen, X. Liu,  Y.  Zhu,J. Chromatography B,878(11-12), 2010, 883–887

6-M.S. Attia, M.M. Aboaly, Talanta,82(1),2010, 78–84

7-Me. Javanbakht,N. Shaabani, B.Akbari-adergani,J.Chromatography B.877( 24)2009, 2537–2544

8-Z. Wang, , H. Zhang, S. Zhou, W. Dong , Talanta,53(6),2001, 1133–1138

9-O.A. Farghaly, M.A. Taher, A.H. Naggar, A.Y. El-Sayed,J.Pharma. and Biome. Anal., 38(1),2005, 14–20.

10-A. A. El-Habeeb, F. A. Al-Saif, M. S. Refat, SpectrochimicaActa Part A: Molecular and Biomol. Spectro.,123,2014,455–466

11-N.P.Dudhane, S.S.Vidhate, B.H. Borkar, R.T. Lohiya,M.J. Umekar,  J. Pharm. Sci. & Res. ,2(1), 2010, 48-52.

12-H.D.Revanasiddappa, M.A. Veena, Science Asia 32, 2006,319–321.

13-J.Shah,  J.M. Rasul, M. Azam Khan, S. Amin,J. Anal. Chem. 60, 2005,633–635.

14- H.D.Revanasiddappa, B. Manju,J. Pharm. Biomed. Anal. 25, , 2001, 631–637.

15-H.D.Revanasiddappa , B. Manju,Drug Dev. Ind. Pharm. 28, 2002, 515–521.

16- S.J. Wadher, P.R. Pathankar, P. Manisha, R.O. Ganjiwale, P.G. Yeole, Indian J. Pharm. Sci. 70, 2008,393–395.

17-  L. G. Hargis, Analytical chemistry principles and techniques.,1988, Prentice-Hall Inc, New Jersey 424.

18- H.Hart, R.D.Schuetz, “Organic Chemistry A short Course”,5th.Ed.,Houghton Mifflin Comp., Boston, USA, (1978).

19-P.Parmar,S.B.Mathew, V.K.Gupta and A.K.Pillai, ActaChem.Slov. 55,2008,236-242.

20-F.A. Carey, “Organic Chemistry”, 3rdEd., McGraw-Hill, New York, 1996.

21- Al -Abachi,  M..Q and Al-Ghabsha, T.S. 1983,Fundamentals of Analytical Chemistry . Press of Mosul Univesity,  Mousl.

22- British Pharmacopeia, The Stationary Office on behalf of the Medicines and Healthcare Products,2012.

23- J. N.  Millerand J. C.Miller,“Statistics and Chemometrics for Analytical Chemistry”, 2000, 4th ed., Pearson Education Limited, London.

التقدير الطيفي للميتوكلوبرمايد في المستحضرات الصيدلانية بوساطة تفاعل الازوتة و الازدواج

أستاذ مساعد وسن عبد الامير الازري  , مدرس د.هند هادي عبدالله,مدرس غادة فاضل*

*قسم الكيمياء, كلية العلوم, جامعة بغداد, بغداد- العراق

الخلاصة

تم اعتماد طريقة تحليلية للتقدير الطيفي المباشر والبسيط لهيدروكلوريد الميتوكلوبرمايد بصورته النقية وفي المستحضرات الصيدلانية. اعتمدت الطريقة على تفاعل الازوتة والازدواج بين الميتوكلوبرمايد المؤزوت مع كااشف ازدواج جديدة :7- ايودو,8 -هيدروكسي كوينولين ,5-حامض السلفونيك في الوسط القاعدي لتكوين صبغة حمراء مستقرة وذائبة في الماء اعطت أقصى امتصاص عند طول موجي 510 نانومتر . يشير الرسم البياني للامتصاص مقابل التركيز بان قانون بير ينطبق  ضمن المدى 0.4-  12 مكغم مل1- وكانت الممتصية المولارية 105×1.91لتر مول-1سم-1وحساسية ساندل 0.0018مكغم سم-2.  تم تطبيق الطريقة بنجاح في تقدير الميتوكلوبرمايد في المستحضرات الصيدلانية.