Study of Gallium Based Restorative Alloy

دراسة سبيكة ترميم ذات أساس كاليوم

Haydar Hassan Jaber

Abstract

The purpose of this research  is to study the properties of gallium based restorative alloy in vitro and compare  with that of high copper dental amalgam . X-ray diffraction analysis and microstructure observation  has been performed on gallium restorative alloy  to determine and observe the existing phases. The specimens were prepared according to ADA specification No. 1. The specimens have been stored at 37±1 Cº using glass chamber prepared for this purpose. The corrosion test has been carried out according to ASTM standard (G5 – 87) and at 37±1 Cº. Compressive strength, diametral tensile strength, creep, dimensional change and vickers hardness  were measured. The value of compressive strength, diametral tensile strength, creep and hardness are considerable, similar to that of amalgam. Corrosion test shows that the gallium restorative alloy less noble than amalgam. Dimensional change of gallium restorative alloy is greater than the allowable A.D.A. limit.

الخلاصة

يهدف هذا البحث إلى دراسة خواص سبائك الترميم ذات أساس كاليوم في المختبر ومقارنتها مع ملغم الأسنان عالي النحاس. أجري تحليل حيود الأشعة السينية وفحص البنية المجهرية على سبائك ترميم ذات أساس الكاليوم لمعرفة وتحديد الأطوار الموجودة. حضرت العينات حسب المواصفة رقم (1) للجمعية الأمريكية للأسنان. حفظت العينات عند درجة حرارة 37±1 Cº باستخدام حجرة زجاجية معدة لهذا الغرض. أنجز اختبار التآكل حسب معيار (G5 – 87)  ASTMو عند درجة حرارة 37±1 Cº. قيست كل من مقاومة الانضغاط ومقاومة الشد القطري و الزحف والتغير بالأبعاد والصلادة. كانت قيم كل من مقاومة الانضغاط ومقاومة الشد القطري و الزحف والصلادة كبيرة, مشابهة إلى قيم الملغم. بين اختبار التآكل بأن سبائك الترميم ذات أساس كاليوم هي أقل نبلا من الملغم. كانت قيم التغير بالأبعاد اكبر من الحد المسموح به من قبل الجمعية الأمريكية للأسنان.

Key words: gallium alloy, corrosion resistance, gallium restorative.

Introduction

The search for alternative direct-filling materials to replace silver amalgam, is intensifying. Despite assurances of relative safety, there is continuing controversy over the use of a restorative material containing mercury, and concern about the discharge of amalgam waste. A metallic alternative containing gallium, instead of mercury, was suggested as early as 1928 in Germany, and has been under development since 1956 [McComb, 1998]. The first gallium alloy (in 1956) for dental purposes alloyed liquid gallium with powders of Ta, Cr, Mo, In, Co, Ni, Au and some Cu –Sn alloys. Waterstrat  formulated Ga –Pd –Sn alloys and found their strength and setting expansion to be acceptable [Dunne et al , 2005].

Two types of Gallium containing alloys became available for clinical use, those containing palladium at 9% (Gallium Alloy GF, Tokurike Honten, Japan) or 2% Gallium GFII and palladium-free alloys namely Galloy (Southern Dental Industries, Bayswater, Australia). Many studies have been performed to evaluate and develop gallium restorative alloys[Horasawa et al, 1999, Shaini,et al, 2001, Hero, et al, 1997, Dunne ,et al,2000 ].Unfortunately, studies with the 9% palladium alloy indicated poor clinical performance with marked discolouration, surface roughness and marginal breakdown. The performance of the reformulated Gallium GFII in laboratory studies was superior, exhibiting fewer defects associated with corrosion, but the setting expansion was much greater than that exhibited by silver amalgam.

The purpose of the present work is to study the properties of gallium based restorative alloy (designed and prepared by the researcher) in vitro and compare  with that of high copper dental amalgam.

Experimental Procedure

1.Preparation of Alloy and its powder

The main elements  high purity (99.9 wt%) silver and (99.99 wt%) copper melted using electric furnace and poured into steel mould, the chemical composition of the alloy is shown in Table (1). The obtained ingot heat treated by homogenization at 400 ºC for 4 hours [ASM, 1991]  for homogenous and uniform distribution of the ingot elements and phases. The cast transformed to chips by lath cut then ball milled and sieved by 200µm sieve, the resulting powder is annealed at 100 ºC for three hours, to make the condensation easier[ASM, 1998], this alloy, after trituration with liquid gallium alloy, will be designated as (GaSn). Megalloy-EZ, which is high copper dental amalgam made in USA, purchased from the market was used for comparison, its chemical composition illustrated in Table (1).

2 - Specimens preparation

The specimens were made by trituration of equal weight of powder alloy and liquid metal (50:50) by amalgamator type (YDM-Pro) for 35 seconds. The composition and melting point of liquid metal are shown in Table (1).The specimens of creep, compression, diametral tensile, hardness and dimensional tests were prepared according to American Dental Association (A.D.A.) specification No.1 for dental amalgam [A.D.A, 1975]; their dimensions were 4mm in diameter and 8mm    in height using steel mould, and dimension of corrosion test specimens were 8mm     in diameter and 5 mm   in height. The specimens have been stored at 37±1 Cº in glass chamber prepared for this purpose.

3- Microstructure Characterization

- X-Ray Diffraction Analysis

X-ray diffraction analysis has been performed on gallium alloy to determine the existing phases. The X-ray diffraction device used is ( XRD-6000,SHIMADZO Japan) supplied with single wave length Cu – Kα – 1.54 Aº, with nickel filter. The range of the diffraction angle was (20º – 90º).

- Microstructure Observation

Optical microscope was used to observe and study the microstructure of  silver – copper ( powder alloy) and gallium alloys with magnification power of (X 150). Wet grinded using different grades of emery papers (180, 800, 1000, 1200), then polished with cloth using alumina liquid of 5µm particle size. The specimens etched with the nitric acid in concentrations of 30% by volume[ASM, 2004].

4 -Corrosion test

Potentiostatic polarization was used as the technique for evaluating corrosion resistance for amalgam and GaSn  restorative alloy tested. Computerized potentiostate (Wenking M Lab, Germay) was used for accomplishing the polarization test. The corrosion resistance of the amalgam and GaSn specimens was studied in synthetic saliva, whose composition is shown in Table (2) [Marek, 1990], the pH solution was 6.7 at 37 Cº temperature. The specimens were tested after 1 month form the end of trituration. The upper and side surfaces of the cylinder specimens have been covered with epoxy.

The corrosion test cell used in this study was made according to ASTM standard                ( G5 – 87) [ASTM,1988]. The corrosion cell is a beaker of (250)ml capacity with water jacket, the reference electrode is Standard Calomel Electrode (SCE), and Auxiliary Electrode (AUX.E.) is platinum electrode, a lugging capillary was kept      in such a way that the working electrode (specimen) and its tip remain at a distance of about 1mm in between to avoid ohmic drop. The corrosion test was carried out          at 37±1 Cº to stimulate the human body temperature by means of water jacket, which controlled by thermostatic water path.

When the specimen reaches the constant potential, potentiostatic polarization was started from an initial potential of 250 mV below the open circuit potential and the scan was continued up to 250 mV above the open circuit potential[ASTM,1988]. The specimens were scanned in the positive direction at a sweep rate of 1 mV/ Sec and the current was reported to potential by computer. Corrosion rate measurement is obtained by using the following equation [Fontana et al, 1978].

Corrosion Rate (mpy) =0.13icoorE.W.A.ρ  ……………………………………(1)

where:

E.W. = equivalent weight (gm/eq.).

A = area (cm2).

ρ = density (gm/cm2).

0.13 = metric and time conversion factor.

icorr = current density (μA/cm2).

5- Compressive Strength

Compressive strength was measured by universal testing machine type ( WDW-200). The test carried out according to(A.D.A.) specification No.1 for dental amalgam [A.D.A, 1975]. The diameter of the specimens was measured with micrometer (its accuracy is 1 µm) before the test. Specimens have been tested at one week from the end of trituration. The specimen loading speed was for 0.5 mm/min. The compressive strength is calculated by using the following equation [ASM, 1992]:-

Compressive strength (N/mm2) =Max.force(N)crosssectional.area(mm2)      -----------(2)

6- Diametral Tensile Strength

Tensile strength was measured by using the universal testing machine using the diametral tensile test. The test carried out according to(A.D.A.) specification No.1 for dental amalgam [A.D.A, 1975]. The specimen was placed in its lateral side between the flat jaws of the machine. The length and the diameter of the specimens have been measured with the mentioned micrometer , the specimens were padded with two thicknesses of 0.038mm aluminum foil on each side. The specimens were tested         at one week from the end of trituration using a loading speed of 0.5 mm/min. Tensile strength is calculated by using the following equation [A.D.A, 1975]:-

σt=2PπDL                                                         -------------------(3)

where

P= load at fracture (N).

D= diameter of specimen (mm).

L= length of the specimen (mm).

σt= tensile strength MPa.

7- Creep

Creep test accomplished according to A.D.A. specification No. 1 [A.D.A, 1975] at 37± 1 Cº, where allows the maximum of 3% creep. Two hours and 45 minutes after the end of trituration, the length of the specimen measured with a micrometer caliper. At three hours after the end of trituration the specimen was subjected to a constant axial pressure of 10 MN/m2. This load was maintained for 21 hours after which the specimen length was measured with mentioned micrometer. Creep percent is calculated by using the following equation [A.D.A, 1975]:-

Creep % =L°−LL°×100                                        ------------------------(4)  where

Lº = original length (mm).

L = final length (mm).

8- Dimensional Change

Dimensional change accomplished according to A.D.A. specification No.1 [A.D.A, 1975] at 37± 1 Cº. The initial measurement was taken 30 minutes after the end of trituration. The final measurement was taken at the end of 24 hours. During this test, the temperature of the specimens was maintained at 37± 1 Cº. The dimensional change must be within range of ± 20 µm/cm.

9- Vickers Hardness test

Vickers hardness of the specimens has been measured using hardness test devise type (Digital Display Microhardness Tester HVs-1000 ) at one week after the end of trituration, the applied load is 0.2 Kg for 10 seconds. Vickers hardness value obtained directly from the devise.

Result and Discussion

Figure (1) shows the diffractogram of GaSn  restorative alloy, it can be seen eight different phases in this alloy (Ag0.72Ga0.28, CuGa2, Cu9 Ga4, Cu3 Ga,  Cu6Sn5,  Cu3Sn, Ag, Cu), the maximum intensity peak was for Ag0.72Ga0.28 phase of orientation (300) has 2θ of 40.189º with intensity of 100%, which was the matrix. CuGa2 phase has the intensity peak with orientation(102) has 2θ of 44.576º with intensity of 100%. Ag0.72Ga0.28 and CuGa2 have been found in different orientation as shown in Table(3). Cu9Ga4, Cu3Ga, Cu6Sn5 and Cu3Sn phases were detected in different orientations with low intensities, therefore, its amounts thought to be small. Ag and Cu are the unreacted phases detected in low intensity peaks with different orientations, therefore, its existence in the GaSn alloy was thought to be in small amounts. Table (3) indicate the following parameters (2θº, d-spacing, phases, and miller indices (hkl)) of the all the detected phases.

Figure (2) illustrates the microstructure of  (Ag – Cu) alloy which consists of two  regions. The matrix of the structure as white region eutectic (Ag, Cu) and   dark denderitic structure of copper is clearly observed resulting from constitutional supercooling as indicated by equilibrium phase diagram of ( Ag – Cu) system[ASM , 1992 ].

Figure (3) illustrates the microstructure of GaSn restorative alloy, it consists of light gray regions which is the matrix  of Ag0.72Ga0.28 phase (the highest intensity peak), dark gray regions of (CuGa) phases, black regions of (CuSn) phases and unreacted particles consists of silver and copper surrounded by (AgGa) and (CuGa) phases, these phases are confirmed by X – ray diffraction analysis in Table (3).

Polarization curve of Megalloy-EZ amalgam is shown in Figure (4). From this figure, it can be obtain the corrosion parameters of this amalgam ( Ecorr, Icorr, and corrosion rate), which are -252mV, 0.27µA/cm2 and 3.706 mpy respectively.             In cathodic polarization, the current density decrease with increasing potential until reach value of -338mV where the current remain at constant small value of 0.505 µA due to passive layer formation until potential reach -335 mV value where passive layer breakdown, and with active anodic polarization, where the current density increase with increasing potential which mean amalgam dissolution after the corrosion potential has passed until reach approximately constant value of current density indicating to barrier film formation, which is approved by many researchers [Dingfei et al,2011, Al Sarraj et al,2011].

Figure (5) shows polarization curve of GaSn restorative alloy. The corrosion parameters of this alloy ( Ecorr, Icorr, and corrosion rate), which are -354mV, 13.61µA/cm2 and 57.468 mpy respectively. In cathodic polarization, the current density decrease with increasing potential until current  density increase with increasing potential which mean GaSn dissolution after the corrosion potential has passed, which means active anodic polarization.

Table (4) shows corrosion potential (Ecorr) , corrosion current density (Icorr) and corrosion rate (C.R.) for tested alloys (Megalloy-EZ amalgam and GaSn). It can be obtained from Figs. (4 and 5) and Table (4) that the Megalloy-EZ amalgam is more noble than GaSn restorative alloy, where (Ecorr) for GaSn is more negative than that of the amalgam , and GaSn corrode rapidly than the amalgam where (Icorr) and (C.R.) for GaSn are greater than that of the amalgam which confirm by many other researchers [Hero et al, 1997, Dunne et al, 2005, Chitambar, 2010].

Table (5) illustrates the compressive strength, diametral tensile strength, creep, dimensional change and hardness of Megalloy-EZ and GaSn.

Compressive strength after one week for both Megalloy-EZ amalgam and GaSn restorative alloy are (268 and 263 N/mm2) respectively, which means the compressive strength of GaSn approximately equal to that of Megalloy-EZ amalgam, where previous works reported that gallium restorative alloys have high strength similar      to amalgam[ Miller et al, 1999, Shaini et al, 200].

Diametral tensile strength after one week for both Megalloy-EZ amalgam and GaSn restorative alloy are (22.73 and 21.5 N/mm2) respectively, which is agree with the result of many researchers [Miller et al, 1999, Shaini et al, 200].

Creep test for both specimens have been carried out at 37± 1 Cº. The creep percentage are ( 0.2 and 0.3 %) for Megalloy-EZ amalgam and GaSn restorative alloy respectively. The allowable creep percentage by ADA is 3% [A.D.A, 1975]. GaSn restorative alloy has considerable creep resistance similar to that of amalgam which indicted by Miller et al and Shaini et al [ Miller et al, 1999, Shaini et al, 200].

From compressive strength, diametral tensile strength and creep tests can be obtain that the GaSn phases have mechanical properties similar to that of amalgam phases ( γ, γ1 and Cu6Sn5).

Dimensional change of Megalloy-EZ amalgam and GaSn restorative alloy are   (+ 14 and + 94 μm/cm) respectively. According to A.D.A. specification No. 1, the dimensional change must be within range of ± 20 µm/cm [A.D.A, 1975]. The dimensional change of Megalloy-EZ amalgam is within A.D.A. limit, and that of GaSn restorative alloy is out of A.D.A. limit, where GaSn restorative alloy will expand excessively and cause tooth pain, as reported by D. McComb [ McComb, 1998].

Vickers hardness of Megalloy-EZ amalgam and GaSn restorative alloy are (158 and 143 Kg/mm2) respectively. The hardness of GaSn restorative alloy are high enough to withstand force applied by chewing.

Conclusion

From this work, it can be concluded the following:-

- GaSn  restorative alloy has the following phases (Ag0.72Ga0.28, CuGa2, Cu9 Ga4, Cu3 Ga,  Cu6Sn5, Cu 3Sn, Ag, Cu).

- The matrix phase in GaSn  restorative alloy is Ag0.72Ga0.28.

- GaSn  restorative alloy has poor corrosion resistance compared to Megalloy-EZ amalgam.

- GaSn  restorative alloy has high compressive strength.

- GaSn  restorative alloy has high diametral tensile strength.

- GaSn  restorative alloy has high creep resistance.

- Dimensional change of GaSn  restorative alloy is greater than A.D.A. allowable limit.

- GaSn  restorative alloy has high hardness.

Table (1) The chemical composition of the used alloys.

| Name of alloy | Composition of powder (wt%) |  |  | Composition and melting point of Liquid Metal (wt%) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Alloys | Ag | Sn | Cu | Ga | Sn | Hg | melting point Cº |
| Megalloy-EZ | 56.7 | 28.6 | 14.7 | - | - | 100 | -38.87 |
| GaSn | 65 | 35 | - | 86.5 | 13.5 | - | 20.5 |

Table (2) Chemical composition of synthetic saliva. [Marek, 1990],

| No. | Constituent | gm/l |
| --- | --- | --- |
| 1 | KCl | 1.5 |
| 2 | NaHCO3 | 1.5 |
| 3 | NaH2PO4.H2O | 0.5 |
| 4 | KSCN | 0.5 |
| 5 | Lactic acid | 0.9 |

Table (3) shows  (2θº), d-spacing, phases, and (hkl) of  GaSn  restorative alloy.

| 2θº | d-spacing Aº | Phase | hkl | 2θº | d-spacing Aº | Phase | hkl |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 40.189 | 2.242 | Ag0.72Ga0.28 | (300) | 45.545 | 1.99 | Cu3 Ga | (101) |
| 38.922 | 2.312 | Ag0.72Ga0.28 | (111) | 72.673 | 1.3 | Cu3 Ga | (110) |
| 41.245 | 2.187 | Ag0.72Ga0.28 | (201) | 86.519 | 1.124 | Cu3 Ga | (200) |
| 44.576 | 2.031 | CuGa2 | (102) | 43.297 | 2.088 | Cu | (111) |
| 35.235 | 2.545 | CuGa2 | (101) | 74.130 | 1.278 | Cu | (220) |
| 31.6 | 2.829 | CuGa2 | (100) | 64.526 | 1.443 | Ag | (110) |
| 55.658 | 1.65 | CuGa2 | (112) | 67.526 | 1.386 | Ag | (112) |
| 63.684 | 1.46 | CuGa2 | (004) | 76.807 | 1.24 | Ag | (201) |
| 45.305 | 2 | CuGa2 | (110) | 22.723 | 3.91 | Cu 9Ga4 | (210) |
| 81.587 | 1.179 | Cu Ga2 | (114) | 46.534 | 1.95 | Cu9 Ga4 | (420) |
| 84.648 | 1.144 | CuGa2 | (203) | 47.568 | 1.91 | Cu9 Ga4 | (421) |
| 30.092 | 2.9672 | Cu6Sn5 | (221‾) | 48.929 | 1.86 | Cu9 Ga4 | (332) |
| 32.378 | 2.7627 | Cu6 Sn5 | (113) | 68.997 | 1.36 | Cu9 Ga4 | (540) |
| 62.636 | 1.4819 | Cu6 Sn5 | (442‾) | 57.557 | 1.6 | Cu 3Sn | (0162) |
| 78.999 | 1.211 | Cu6 Sn5 | (714) | 83.217 | 1.16 | Cu 3Sn | (2242) |
|  |  |  |  | 57.557 | 2.38 | Cu 3Sn | (0160) |

E(Ag,Cu)

Cu

Figure (2) The microstructure of  (Ag – Cu) alloy. (X 150)

Cu6Sn5  &

Cu3Sn

Cu Ga

AC

Ag Ga

Figure (3) The microstructure of  GaSn restorative alloy. (X 150)

AC = Ag – Cu  unreacted particles.

Table (4) The corrosion potential (Ecorr) , corrosion current density (Icorr), corrosion rate of the amalgam and GaSn .

| Alloy | Ecorr (mV) | Icorr ( µA/cm2) | Corrosion Rate (mpy) |
| --- | --- | --- | --- |
| Megalloy-EZ | -252 | 0.27 | 3.706 |
| GaSn | -354 | 13.61 | 57.468 |

Figure (4)  polarization curve of Megalloy-EZ amalgam in synthetic saliva at 37±1 Cº.

Figure (5)  polarization curve of GaSn restorative alloy in synthetic saliva at 37±1 Cº.

Table (5) the compressive strength, diametral tensile strength, Creep, Dimensional Change and Hardness of Megalloy-EZ and GaSn.

| Amalgam | compressive strength (N/mm2) | diametral tensile strength | Creep (%) | Dimensional Change (μm/cm) | Hardness Hv (Kg/mm2) |
| --- | --- | --- | --- | --- | --- |
| Megalloy-EZ | 268 | 22.73 | 0.2 | + 14 | 158 |
| GaSn | 263 | 21.5 | 0.3 | + 94 | 143 |

References

Al Sarraj Z.S.A.  and R.I. Atiyah, 2011, Preparation and Characterization of High – Copper Restorative Dental Alloys Corrected, Advanced Materials Research, Vol. 324 No. 69,  pp69-72.

Annual Book of ASTM Standards,1988,  Wear and Erosion, Metal Corrosion, volume 03.02, G5 – 87.

ASM Hand Book, 1991, Heat Treatment, Volume 4, 9th edition.

ASM Hand Book, 1992, Alloy Phase Diagrams ,Volume 3.

ASM Hand Book, 1998,  Powder Metal Technologies and Applications,  Volume 7.

ASM Handbook, 1992,  Properties and Selection: Nonferrous Alloys and Special-Purpose Materials,  Volume 2.

ASM Handbook, 2004,  Metallography and Microstructures,  Volume 9.

Chitambar, C. R 2010, Medical Application and Toxicities of Gallium Compouds, Int. J.Environ. Res. Public Health, Vol. 7, pp2337-2361.

Dingfei, Z.  L.Y. Ping, C. Changguo, X. Yajuan, 2011, Galvanic Corrosion Behavior and Three Protection Techniques of Magnesium Alloy Coupled to A6N01S-T5 Aluminum Alloy In NaCl Solution, Materials Science Forum, Vol. 686 No. 146, pp146-150.

Dunne, S.M and R. Abraham,2000, A Study Into The Performance of A Gallium – Based Restorative Material, Br Dent J, Vol.189, pp 310 – 313.

Dunne, S.M.  R. Abraham, and C.L. Pankhurst, 2005, A 3-year longitudinal, Controlled Clinical Study of a Gallium-Based Restorative Material, Bri D J, Vol. 198 No.6, pp355 – 359.

Fontana and Green, 1978, Corrosion Engineering, McGrow – Hill Book Company.

Guide to Dental Materials and Devices, 1974 – 1975, 7th edition, (A.D.A.).

Hero, H.  T. Okabe, H.Wie, 1997, Corrosion of Gallium Alloys In Vivo, J Mat Sci,Vol.8, pp357 – 360.

Horasawa, N.  S. Takahashi, M. Marek, 1999, Galvanic Interaction Between Titanium and Gallium Alloy or Dental Amalgam, Dent Mater, Vol. 15 No.5, pp318 – 322.

Marek M., 1990, The Effect of Tin on The Corrosion Behavior of The Ag – Hg Phase of Dental Amalgam and Dissolution of Mercury, J Det Res, Vol. 69 No. 12, pp17861790.

McComb, D.  1998, Gallium Restoration Materials, J Can Dent Assoc Vol.64, pp 645-647.

Miller, B.H.  M.Woldu, H. Nakajima ad T. Okabe, 1999, Strength and Microstructure of Gallium Alloys, Dent Mater J, Vol.18 No.1, pp96-107.

Shaini, F.J.  G.J. Fleming, A.C. Shortall, P.M. Marquis, 2001, A Comparison of The Mechanical Properties of a Gallium – Based Alloy With a Spherical High – Copper Amalgam, Dent Mater, Vol. 17 No.2, pp142 – 148.