U.V. Derivative spectra studies of some Schiff’s Bases of Amino Acids complexes- Trace Amount Determintion.

Isam J. AL- Nuri                   Amel G. Abed       Thana Y. Yousif

College of Science, Mosul University

(NJC)

(Recevied on  15/12/2010) 		  (Accepted for publication   10/ 7/2011)

Abstract

According to the biological and industrial importance of Schiff bases derived from amino acids, the U.V. derivative spectra were studied for Schiff bases derived from Leucine amino acid and their complexes with Ni (II) and Co (II) in ethanol as solvent. The plot of the molar concentration versus the absorbance result in a straight line relationships obeys the Beer’s Lambert law with in certain ranges of concentrations. The Zero, first and second order derivative spectra were recorded and the integrated area under the peaks estimated for a solutions of different concentrations which employed for quantification of the complexes of these Schiff bases and shows a relative enhancement in the determination limits as compared with Zero- order technique.

الخلاصة

نظراً للأهمية البايولوجية والصناعية لمركبات قواعد شيف المشتقة من الحوامض الامينية ومعقداتها فقد تمت دراسة أطياف المشتقة لقواعد شيف مشتقة من الحامض الأميني ليوسين ومعقداتها مع النيكل والكوبلت في مذيب الايثانول وتم رسم العلاقة البيانية بين التركيز والامتصاص لعدد من المحاليل مختلفة التركيز وكانت النتيجة خطاً مستقيماً يتطابق مع قانون بير- لامبرت ضمن مديات تركيز معينة. كما تم دراسة اطياف المشتقة الأولى والثانية لمعقدات هذه القواعد وايجاد مديات تقدير التركيز من العلاقة الخطية بين المساحة تحت الحزم المختارة لغرض التقدير والتركيز المولاري لعدد من المحاليل ووجد انه حصل تحسن نسبي في مديات التقدير مقارنة مع طيف المشتقة صفر.

Introduction

Schiff bases and their complexes have received renewed attension in recent years because of their antitumor and carcino static activities. (1, 2)

They are known to exhibit awide variety of pharmacological properties such as antiflammatory,(3) antimalarial(4), antifungal(5) and antiviral. The Schiff bases complexes have numerous industrial applications as oxidant reagents for sulphur compounds(6). The mixture of Schiff bases with transition metals were used as stablizers in gasoline and polymers.(7) A large number of research works have been acomplished about the complexes of Schiff bases with several metal ions (transition and non- transition), from which the complexes of Co(II), Cu(II) with Schiff bases derived from isatin, glycine and alanine(8), The complexes of Zn(II), Cu(II), Ni(II) with Schiff bases derived from the condensation of 2-hydroxy-1- naphthaldehyde with amino acids L- alanin and L- isoleucine(9). Many methods for the determination of Schiff bases complexe were established, from these methods. The differential pluse polarographic studies of BenziL-Glycine  Schiff base and its Ni (II) complexes in aqueous and DMSO medium(10). Spectrophtometric method for determination and kinetics of amino acids through their reaction with syringaldehyde.(11) spectrophotometric determination of metronidazole through Schiff’s base system using vanillin and PDAB (p-dimethyl amino benzaldehyde) reagents in pharmaceutical preparations.(12) HPLC determination of Schiff bases(13). Flow injection spectrophotometric determination of Fluoxetine in bulk and in pharmaceutical preparations(14). Direct determination of Zirconium and chromium complexes with Schiff’s base 2-(2-pyridylmethyleneamino) phenol by first- order derivative spectrophotometry.(15) simultaneous determination of Zinc (II) and Nickel (II) with 2-(2-pyridylmethylene amino) phenol by first derivative spectrophotometry. (16) In this work the first and second- order derivative were studied for the complexes of new Schiff bases derived from Leucine amino acid with sodium -3- acetylpyridine (NaL1) and sodium acetoacetanilide (NaHL2) with Co and Ni and their direct determination.

NaL1

NaHL2

L2Co

L1Co

L1Ni

L2Ni

Experimental

Chemicals:

All the chemicals and the solvents are of high purity and supplied by Fluka and BDH.

Preparation of Schiff bases salts: (17)

For the preparation of the Schiff base 1-sodium-3-acetylpyridine Leucineimine (NaL1) with empirical formula C13H17N2O2Na, mix equimolar amounts [0.01 mole, 1.31gm] of amino acid Leucine with [0.01 mole, 1.21gm] of 3-acetylpyridine in 20 ml 50% ethanol in the presence of sodium acetate 0.01 mole (0.82 gm), heat the mixture to 50°C and reflux at this temperature for 20 min. Cool, Leave the mixture. Measure the pH of the mixture which must be (pH= 5.0- 6.6)(18), then evaporate until 1/4 the original volume of the mixture, followed by the addition of 10 ml ethanol until the formation of precipitate, Leave it over night for complete precipitation, filter the precipitate and wash it several times with 5ml, ethanol, then dry under reduced pressure. By the same method the ligand NaHL2 (sodium Acetoacetanilide leucine amine) with empirical formula C16H21O3N2Na using Acetoacetanilide (0.01 mole, 1.77gm) was prepared.

Complex  preparation(17):

For the preparation of Co (II) complex of Schiff base sodium 3-acetyl pyridine Lencine imine (L1Co) with empirical formula [Co(L1)(CH3COO)(H2O)2], mix equimolar amounts of Leucine amino acid (0.01 mole, 1.31 gm) with 3-acetylpyridine (0.01 mole, 1.21gm) in 20 ml 50% ethanol in the presence of (0.01 mole, 2.49 gm) Co(CH3COO)2. 4H2O, reflux for 2hrs at 50 °C. Cool at room temperature, check the pH of the mixture, then evaporate to 1/4 of its volume and add 20 ml ethanol, Leave the mixture over night pink color precipitate was separated which filtered and washed with ethanol followed by petroleum ether and dried under reduced pressure. In the same methods the complexes L1 Ni with empirical formula [Ni(L1)(CH3COO)(H2O)], L2Co with empirical formula [Co2(L2)2]. 2H2O and L2Ni with empirical formula [Ni(L2)(H2O)] were prepared.

Instrumentation:

All the U.V. spectra were recorded using UV- visible spectrophotometer. ShimadZu UV- 1650 PC using 1x1x3 Cm matched quartz cells.

For UV-Spectra measurement 25 ml 10-2 M solutions in ethanol were prepared by dissolving 0.064 g, 0.0967 g, 0.087 g from NaL1, L1Co, L1Ni respectively and 0.0789 g, 0.17349, 0.0911 g from NaH L2, L2 Co, L2Ni respectively and by appropriate dilution the solutions 10-3 M, 10-4 M and 10-5 M in ethanol were prepared.

Calculations:

The peak area measurements are often found to be more reliable than peak height measurements, for this reason the quantifications were accomplished according to the integrated area under the peaks under consideration.

Results and Discussion

The U.V. absorption spectra of the Schiff bases NaL1 and NaHL2 were recorded before the complexation with the metals (Co (II) and Ni (II)) and shows absorption maximum at 264 nm and 240 nm respectively. After their complex formation with metals Co (II) and Ni (II), the U.V. absorption spectra were recorded for a series of solutions at different ranges of concentrations.

Co-Complexes:

The zero-order spectra of the complex L1Co show an absorption band at =238 nm with max = 2165 Lit.mole-1.cm-1 and another band at =276nm with max=1315 Lit.mole-1.cm-1, where as the complex L2Co show absorption band at =238nm and 278nm with max = 3237 and 3270 Lit.mole-1.cm-1 respectively Fig.(1) and (2).

Fig. (1): U.V. absorption spectra of L1Co complex solution in ethanol.

(…. Zero-order, ______ first order derivative , ++++ second order derivative).

Fig. (2): U.V. absorption spectra of L2Co complex solution in ethanol.

(______ Zero-order,  first order derivative , +++ second order derivative).

The quantification of the complexes L1Co and L2Co were accomplished according to the bands at  = 276 nm,  = 278nm respectively through the absorbance measurement for a series of solutions at different concentrations in ethanol and the results are shown in table (1) and (2).

Table (1): The absorbance of different concentration of L1Co complex solution in ethanol at  = 276nm

Table (2): The absorbance of different concentration of L2Co complex solution in ethanol at  = 278nm

| Absorbance | Concentration |  | Absorbance | Concentration |
| --- | --- | --- | --- | --- |
| 0.062 | 2  10-5 |  | 0.023 | 1  10-5 |
| 0.070 | 4  10-5 |  | 0.068 | 2  10-5 |
| 0.135 | 6  10-5 |  | 0.135 | 4  10-5 |
| 0.201 | 8  10-5 |  | 0.197 | 6  10-5 |
| 0.315 | 2  10-4 |  | 0.244 | 8  10-5 |
| 0.549 | 4  10-4 |  | 0.311 | 9  10-5 |
| 0.789 | 6  10-4 |  | 0.302 | 1  10-4 |
| 1.083 | 8  10-4 |  | 0.631 | 2  10-4 |
| 1.119 | 1  10-3 |  | 1.001 | 3  10-4 |
| 2.242 | 2  10-3 |  | 1.308 | 4  10-4 |
|  |  |  | 1.803 | 6  10-4 |
|  |  |  | 2.476 | 8  10-4 |

Concentration (M)

Absorbance

Fig. (3): The zero -order calibration curve of L1Co complex solution at different concentration at  = 276 nm

Concentration (M)

Absorbance

Fig. (4): The zero -order calibration curve of L2Co complex solution at different concentration at  = 278 nm

The plot of the measured absorbance versus the molar concentrations show a straight line obeys Beer's-Lambert law within a concentration ranges(2 10-5–210-3)M and a determination limit (7.7 – 773.8 g/ml) with R2 = 0.9931, RSD = 0.5% for L1Co Fig (3), and a concentration ranges (110-5–810-4)M and a determination limit (6.9 – 555 g/ml) with R2 = 0.9981, RSD = 2.1% for L2Co Fig.(4).

The first order derivative spectra for a series of solutions were recorded and shows for the complex L1Co a positive band at  = (208 – 242)nm and crosses the zero axis at      =242nm, and negative band at           = (242 – 262)nm and another positive band at  = (262 – 276)nm and crosses the zero axis at  = 276nm and another negative peak at  = (276 – 350)nm. For quantification the integrated area under the negative peak at  = (242 – 262)nm were recorded for a series of different molar concentrations solution and plotted versus the molar concentration and results in a straight line obeys the Beer's–Lambert law within the concentration range (410-5–3 10-3) and a determination range (15.5–1160.8)g/ml, R2=0.9913, RSD = 8.8%, table (3), Fig. (5).

Area

Concentration (M)

Fig. (5): The calibration curve between the integrated area under the peak measured at different concentration in ethanol at  = (242 – 262)nm of L1Co complex solution.

Table (3): The integrated area under the peak  = (242 – 262)nm for different concentration of L1Co in ethanol

| Area | Concentration |
| --- | --- |
| 0.008 | 4  10-5 |
| 0.027 | 6  10-5 |
| 0.011 | 8  10-5 |
| 0.037 | 2  10-4 |
| 0.141 | 4  10-4 |
| 0.182 | 6  10-4 |
| 0.347 | 8  10-4 |
| 1.180 | 2  10-3 |
| 1.776 | 3  10-3 |

The first order spectrum of the complex L2Co show a positive band at  = (212 – 238)nm and crosses the zero axis at  = 238 nm and a negative band at  = (238 – 260)nm and another positive band at  = (260 – 278)nm and crosses the zero axis at =278nm and negative band at  =(278 - 300)nm.

The quantification were accomplished through the plotting of the recorded integrated area under the positive peak at  = (260 – 278)nm versus the different molar concentration solutions of the complex, the result was a straight line obeys Beer's – Lambert Law within a concentration range (110-5–6 10-4)M and a determination limit (6.9 – 416.3) g/ml , R2 = 0.9913, RSD = 5.3%, table (4), Fig. (6).

| Concentration (M) Area Fig. (6): The calibration curve between the integrated area under the peak measured at different concentration in ethanol at  = (260 – 278)nm of L2Co complex solution. Area Table (4): The integrated area under the peak  = (260 – 278)nm for different concentration of L2Co in ethanol | Concentration |
| --- | --- |
| 0.019 | 1  10-5 |
| 0.026 | 2  10-5 |
| 0.058 | 6  10-5 |
| 0.064 | 8  10-5 |
| 0.066 | 9  10-5 |
| 0.102 | 1  10-4 |
| 0.254 | 2  10-4 |
| 0.453 | 3  10-4 |
| 0.639 | 4  10-4 |
| 0.986 | 6  10-4 |

The second order derivative spectrum of the complex L1Co consists of a negative peak at max =242nm and two satellites one on each side of this peak and another negative peak at max = 276nm which was selected for the direct quantification of the L1Co complex in ethanol, which were accomplished by recording the integrated area under this peak for a series of ethanolic solutions of a series of different concentrations of L1Co , table (5).

On plotting of the integrated area versus the molar concentrations of L1Co complex the result was a straight line obeys the Beer's-Lambert Law within the concentration range            (2  10-5 – 2  10-3)M , and a determination limit (7.7 – 773.9) g/ml , R2 = 0.9963 and RSD (relative standared deviation) = 3.2%, Fig. (7).

Area

Concentration (M)

Fig. (7): The calibration curve between the integrated area under the peak measured at different concentration in ethanol at  = (276 – 288)nm of L1Co complex solution.

Table (5): The integrated area under the peak  = (276 – 288)nm for different concentration of L1Co in ethanol

| Area | Concentration |
| --- | --- |
| 0.002 | 2  10-5 |
| 0.003 | 4  10-5 |
| 0.007 | 6  10-5 |
| 0.010 | 8  10-5 |
| 0.016 | 2  10-4 |
| 0.033 | 4  10-4 |
| 0.044 | 6  10-4 |
| 0.064 | 8  10-4 |
| 0.069 | 1  10-3 |
| 0.141 | 2  10-3 |

The second order derivative spectrum of L2Co complex in ethanol show a negative peak at max = 238nm and 278nm with two satellites at each side of these peaks.

The direct quantification of the complex L2Co in ethanol was accomplished by the plot of the recorded integrated area under the negative peak at  = 278 for a series of different concentrations versus the molar concentrations resulted in a straight line relation obeys the Beer's-Lambert law within a concentration range (1  10-5 – 8  10-4)M and a determination limit (6.9 – 555.0) g/ml , with R2 = 0.9930, RSD=2.9%,     table (6), Fig. (8).

Table (6): The integrated area under the peak  = (260 – 286)nm for different concentration of L2Co in ethanol

Concentration (M)

Area

Fig. (8): The calibration curve between the integrated area under the peak measured at different concentration in ethanol at  = 278nm of L2Co complex solution.

| Area | Concentration |
| --- | --- |
| 0.002 | 1  10-5 |
| 0.004 | 2  10-5 |
| 0.010 | 4  10-5 |
| 0.010 | 6  10-5 |
| 0.012 | 8  10-5 |
| 0.013 | 9  10-5 |
| 0.015 | 1  10-4 |
| 0.034 | 2  10-4 |
| 0.056 | 3  10-4 |
| 0.069 | 4  10-4 |
| 0.092 | 6  10-4 |
| 0.137 | 8  10-4 |

The results of the direct quantifications of L1Co shows that the most reliable U.V. spectroscopic technique was the second order derivative > zero order > first order derivative where as for the complex L2Co, the more reliable technique was the second and the zero order derivative than the first order derivative technique.

Ni-Complexes:

The zero-order derivative spectrum of the complex L1Ni in ethanol shows a major band at              = 234nm and another band of lower intensity at =274nm, the former band at  =234nm was selected for the direct quantification of L1Ni complex, which was accomplished by recording the absorbance of a series of different concentration solutions of the complex L1Ni in ethanol, table (7), Fig. (9).

Fig. (9): U.V. absorption spectra of L1Ni complex solution in ethanol.  (…. Zero-order, ______ first order derivative , ++++ second order derivative).

Table (7): The absorbance of different concentration of L1Ni complex solution in ethanol at  = 234nm

| Absorbance | Concentration |
| --- | --- |
| 0.080 | 8  10-5 |
| 0.084 | 2  10-4 |
| 0.166 | 4  10-4 |
| 0.224 | 6  10-4 |
| 0.257 | 8  10-4 |
| 0.332 | 1  10-3 |
| 0.664 | 2  10-3 |
| 0.921 | 3  10-3 |

Absorbance

Concentration (M)

Fig. (10): The zero -order calibration curve of L1Ni complex solution at different concentration at  = 234 nm

The plot of these value results in straight line relation obeys Beer's-Lambert law within the concentration range (8  10-5 – 3  10-3)M with a determination limit (28.1 – 1052.3) g/ml , R2 = 0.9968, RSD = 1.3%,  Fig. (10).

The zero-order derivative spectrum of L2Ni complex in ethanol show two absorption bands, the first at l =240 nm with max =1350lit.mole-1.cm-1 , and a second broad band at about 290nm. The direct quantification of the complex L2Ni was accomplished according the absorption band at l = 240nm, by plotting the recorded absorbance of a series of different molar concentrations, the result was a straight line obeys Beer's-Lambert law within a concentration range (4  10-5 – 3  10-3)M with a determination limit (14.6 – 1094.0) g/ml , R2 = 0.9979, and RSD = 1.4%, Table (8), Fig. (11), Fig.(12).

Fig. (11): U.V. absorption spectra of L2Ni complex solution in ethanol.  (Zero-order, ______ first order derivative ,  second order derivative).

Table (8): The absorbance of different concentration of L2Ni complex solution in ethanol at  = 240nm

| Absorbance | Concentration |
| --- | --- |
| 0.054 | 4  10-5 |
| 0.046 | 6  10-5 |
| 0.052 | 8  10-5 |
| 0.102 | 2  10-4 |
| 0.150 | 3  10-4 |
| 0.195 | 4  10-4 |
| 0.286 | 6  10-4 |
| 0.331 | 7  10-4 |
| 0.371 | 8  10-4 |
| 0.445 | 1  10-3 |
| 0.194 | 3  10-3 |

Concentration (M)

Absorbance

Fig. (12): The zero -order calibration curve of L2Ni complex solution at different concentration at

 = 240 nm

The first order derivative spectrum of L1Ni complex solution in ethanol show a positive band at l = (208 – 236) nm and crosses the zero-axis at l = 236nm and a negative band at l = (236 – 264)nm, this band was selected for the direct quantification of L1Ni complex, the recording of the integrated area under this band for a series of solution of different molar concentrations, and their plots results in a straight line obeys the Beer's-Lambert law within a concentration range (2  10-4 – 5  10M and a determination limit (70.1 – 1753.5)g/ml , R2 = 0.9873, RSD = 12.4%, Table (9), Fig. (13).

Concentration (M)

Area

Fig. (13): The calibration curve between the integrated area under the peak measured at different concentration in ethanol at

 = (236 – 264)nm of L1Ni complex solution.

Table (9): The integrated area under the peak  = (236 – 264)nm for different concentration of L1Ni in ethanol

| Area | Concentration |
| --- | --- |
| 0.006 | 2  10-4 |
| 0.036 | 4  10-4 |
| 0.076 | 6  10-4 |
| 0.088 | 8  10-4 |
| 0.081 | 1  10-3 |
| 0.320 | 3  10-3 |
| 0.458 | 5  10-3 |

The first – order derivative spectrum of L2Ni complex solution in ethanol show a positive peak at l = (208 – 240) nm and crosses the zero-axis at l = 240nm and a negative peak at l = (240 – 266)nm which was taken into consideration for the direct quantification of L2Ni complex in ethanol by the plot of the recorded of the integrated area under this peak for a series of solution of different concentrations.

The result was a straight line obeys the Beer's – Lambert law within a concentration range (6  10-5 – 4  10M and a determination limits (21.9 – 1458.8) g/ml , R2 = 0.9833, RSD = 9.9%, Table (10), Fig. (14).

Concentration (M)

Area

Fig. (14): The calibration curve between the integrated area under the peak measured at different concentration in ethanol at

 = (240 – 266)nm of L2Ni complex solution.

Table (10): The integrated area under the peak  = (240 – 266)nm for different concentration of L2Ni in ethanol

| Area | Concentration |
| --- | --- |
| 0.049 | 6  10-5 |
| 0.041 | 8  10-5 |
| 0.061 | 2  10-4 |
| 0.121 | 3  10-4 |
| 0.144 | 6  10-4 |
| 0.154 | 7  10-4 |
| 0.187 | 8  10-4 |
| 0.219 | 1  10-3 |
| 0.477 | 3  10-3 |
| 0.560 | 4  10-3 |

The second – order derivative spectrum of L1Ni complex solution in ethanol consists of a main negative peak at l = (228 – 246)nm and two satellite peaks one at each side of the negative peak.

The quantification of the L1Ni complex was accomplished through the plot of the recorded integrated area under this peak at l = (228 – 246)nm for a series of different concentration solutions of L1Ni in ethanol which result in a straight line obeys Beer's – Lambert law within a concentration range (8  10-5 – 2  10-3)M and a determination limit (28.1 – 701.4)g/lm , R2 = 0.9814, RSD = 10.4%, Table (11), Fig.(15).

Fig. (15): The calibration curve between the integrated area under the peak measured at different concentration in ethanol at

 = (228 – 246)nm of L1Ni complex solution.

Concentration (M)

Area

Table (11): The integrated area under the peak  = (228 – 246)nm for different concentration of L1Ni in ethanol

| Area | Concentration |
| --- | --- |
| 0.001 | 8  10-5 |
| 0.004 | 2  10-4 |
| 0.007 | 4  10-4 |
| 0.010 | 6  10-4 |
| 0.015 | 8  10-4 |
| 0.022 | 1  10-3 |
| 0.053 | 2  10-3 |

The second – order derivative spectrum of L2Ni complex solution in ethanol show a main negative peak at l = (230 – 250)nm which was taken into consideration for the direct quantification of L2Ni complex through the plot of the integrated area under the peak versus the molar concentration of L2Ni complex in ethanol which result in a straight line obeys Beer's – Lambert law within the concentration range (610-5–310-3)M , and a determination limit (21.9 – 1094.1)g/ml , R2 = 0.9938, RSD = 2.3%, Table (12), Fig. (16).

Concentration (M)

Area

Fig. (16): The calibration curve between the integrated area under the peak measured at different concentration in ethanol at

 = (230 – 250)nm of L2Ni complex solution.

Table (12): The integrated area under the peak  = (230 – 250)nm for different concentration of L2Ni in ethanol

| Area | Concentration |
| --- | --- |
| 0.005 | 6  10-5 |
| 0.010 | 8  10-5 |
| 0.019 | 3  10-4 |
| 0.024 | 6  10-4 |
| 0.027 | 7  10-4 |
| 0.031 | 8  10-4 |
| 0.041 | 1  10-3 |
| 0.099 | 3  10-3 |

From the above results were found that the more reliable technique for the direct quantification of:

Complex L1Ni :   zero – order > second

Complex L2Ni :    – order > first order

derivative spectra

References:

- V.S. Shrivastava,C.P.Bhasin,G.C.Saxena, J.Indian Chem. Soc., 1986, 15(2), 297.

- S. Rao, A.S. Mittra, J. Indian Chem. Soc., 1978, 55, 420.

- A.K. Mittal, O.P. Singhal, J. Indian Chem. Soc., 1986, 63(67), 759.

- S.J. Yan, W.H. Burton, P.L. Chlen, C.C.Cheng, J. Heterocycl. Chem., 1978, 15(2),297.

- Dash B., Patra M. and Mahapatra P., J. Indian chem. Soc., 1983, 60, 772.

- I.A. Savich, A. K. Pikaev, I.A. Lebedev, V.I. Spitsyn., Chem., Abst., 1334b 1959, 53, 1-4.

- Cyba, A. Henryk, Chem. Abst., 68022p, 1968, 69, 18.

- Hassaan, M.A. Aly, J. Pharm. Sci., 1992, 33, (3-4), 679.

- Sharma, K. Praveen, Dubey, N.Surendraproc., Inidan Acad. Sci., Chem. Sci., 1994, 106, 1,23.

- S. T. Sulaiman, A.G. Abed, Raf. Jour. Sci., 2002, 13,1,18.

- H.A.A. Medien, Spectrochimica Acta Part A: Molecular and Biomolecular spectroscopy, 1998, 24(2), 359.

- K. Siddappa, M. Mallikarjum, P.T. Reddy, M.Tambe, Ecl. Qnin.,2008, 33(4),41.

- R.A. Thakur, J.S.Smith, J. agric. Food chem.., 1996, 44(4),1047.

- J. Shah, M.R. Jan, F. Rehman., J.Chil. Chem., Soc., 2008, 53(3),1605.

- G. Zorana, L. Zvjezdana, K. Natalija, Anylist, 1994, 119(17), 1999.

- G. Zoran, L. Zvjezdana, K. Natalija, Talant, 1994, 4119(25), 2153.

- T.Y. Yousif, Tikrit Journal of Pure science, 2009, 14(1),1813.

- N. A. Nawwar, A. M. Shallby, N. M. Hosney and M.M. Mostafa., Transition Metal Chemistry, 2001, 26, 108.