Lecture No. 1

General review:

Fungi  are: Eukaryotic, heterotrophic, absorptive organism that develop rather diffuse, branched tubular body and reproducing by means of spores.

Many fungi are pathogens of plants that are grown for food, shelter or clothing. A smaller number are agents of diseases in animals, including man. Many saprotrophic fungi attack and degrade raw or manufactured materials of various kinds, such as foodstuffs, timber, textiles and leather. The economic loss of such destruction, and the cost of prevention treatment, can be enormous.

On the positive side, many saprotrophic fungi are useful to man. The use of yeasts in baking and brewing is well known. Minor source of food include edible mushrooms and truffles. Various fungi are used to give distinctive flavors to ripening cheeses. Several extremely useful antibiotics are metabolic products of fungi, e.g. penicillin.

Generalized sterile and safety techniques:

1. Wear a clean lab coat to protect clothing and to reduce possible contamination of cultures.

2. While in the laboratory avoid any hand to mouth operations. such as eating, or licking adhesive labels.

3. Wash hands thoroughly with soap and water, both before and after working with cultures.

4. Keep work surface clear of any unnecessary objects (e.g., books, purses, etc.)

5. Wash work surface with a capable disinfectant, such as 5% Lysol or 70% alcohol, both before and after working with cultures.

6. Culture transfers: The only articles of equipment needed to make a transfer from the initial culture to a tube of sterile medium are a Bunsen gas burner, and an inoculating loop or needle.

a. Hold both tubes in the left hand (fig. 1).

b. With the needle in the right hand. pass the entire length of the wire through the flame until it has all been red

hot (fig. 2).

c. While still holding the needle, quickly remove the caps or plugs from the tubes, holding them between the fingers of the right hand, (fig. 3). Flame the mouths by passing them two or three times through the burner flames (fig. 4). Hold these tubes almost parallel to the table top if they contain a broth. This will reduce the possibility of air-borne contaminants.

d. Touch the needle to the medium in the culture tube to be sure it is cooled, and then to the culture mass. Apply the needle to the sterile medium in the other tube (fig.5). This may be done either by streaking the surface of a slant, making a stab into a semi-solid media, or swirling the needle in a broth. It should be noted that it is not necessary to remove a large volume of the culture mass with the needle. A slight touch will place more than enough on the needle to make the inoculation.

e. Flame the mouths of the tubes and cap them.

f. Flame the inoculating needle until it is "red hot".

g. When Petri plates are used, place them on the table and lift the cover only enough to maneuver the needle when inoculating.

7. If screw cap culture tubes are used, the cap should be kept loose to allow the aerobic cultures to get oxygen. (Most common bacteria and molds fall into this category).

8. It cultures are to be kept for an extended period, however, they should be sealed tightly to prevent dehydration of the media, and then refrigerated to

extend the shelf life.

9. Procedures to follow in case of microbiological spill:

Materials on hand at all times:

bio-hazard bag (autoclavable), paper towels, gloves, tongs or similar instrument, disinfectant solution (70% isopropyl alcohol or 10% Lysol, in squeeze bottle).

Procedure:

a. Pour disinfectant on all broken glass and contaminated surfaces. Extend coverage over 3" around original (contaminated) area.

b. Cover spill area with paper towels. Add additional disinfectant to full saturate. Wait 30 minutes.

c. Wearing rubber gloves and using tongs, pick up all glass or residue along with paper towels and place in Bio-hazard bag.

d. Disinfect area again (Steps a-c).

e. Seal Bio-hazard bag and autoclave contents. Dispose.

f. Wash hands thoroughly.

10. Discarding of Microbiological Cultures

a. All cultures must be autoclaved prior to disposal in an autoclave at 121 BC, 15 PSI for 15 minutes.

b. Contents of containers may then be discarded.

Note: Do not dump melted agar down the drain. It will later solidify and block flow.

c. Wash glassware in hot water and rinse well.