Toxicity of constituting elements

Several elements present in ceramics, either as impurity or as constitutive

elements, may cause toxicity. It is customary to distinguish essential trace elements,

oligoelements necessary for the life, from toxic trace elements. It appears, however,

that all these elements have different toxic limits. The latter are difficult to

determine in an absolute manner and in the case of implanted substances, the local

effect on tissues should be distinguished from the remote effect of the implant on

other tissues or organs (Table 12.2).

The toxicity of alumina, lead, arsenic, mercury and cadmium are well

documented. These studies however often relate to the elements ingested in

nutriments. Very few studies have been made on the toxicity of elements associated

with implants and in their immediate neighborhood and the standards in vigor are

not often based on any experimental data.

The solubility of phases and their reactivity in a biological environment is

evidently a determining factor. Thus, for example, alpha alumina implants have

never shown toxicity associated with aluminum, despite the large quantities of

aluminum introduced into the organism, while degradable glasses containing smaller

proportions of aluminum may considerably impair the formation of bone tissue [NIZ

99]. Similarly, fluorapatite, which is very insoluble, does not induce any negative

reaction despite the toxicity of fluorine. As far as dental amalgams are concerned,

the poisoning effect of mercury appears very controversial. The toxicity of elements

depends equally on their degree of oxidation and on their state of complexation.

Thus, the arsenates, eventually present as trace elements in calcium phosphates, are

much less toxic than arsenites; likewise, certain organic derivatives of phosphorus

are highly toxic, while orthophosphates are harmless.

Lastly, high temperature heat treatments (sintering, plasma spraying) tend to

reduce the strength of volatile impurities in ceramics, particularly mercury. It can

also help the segregation of certain impurities at grain boundaries or on the surface

and increase their bioavailability.

Bioceramics 511

Elements Biological effect

Mg Essential element, well regulated in healthy substance, may affect locally the

cell functioning; inhibits the crystal growth of bone mineral.

Al Neurological effects of the element are not well established. At low doses,

it helps cell multiplication. At high doses, it inhibits cell development, alters

mineralization and inhibits crystal growth of the bone mineral.

Si Essential element, may induce a cell toxicity in the form of isolated silicate

ions, seems to help the formation of the neo-formed layer of apatite.

As

Pb,

Hg,

Cd

These trace elements are relatively spread out and can be found in most

ceramics. They can have important neurological consequences and seriously

disturb cell function.

Maximum acceptable concentrations are usually standardized.

Ti Does not seem to have any important toxic effect.

Metal and oxide particles can be toxic.

Zr Zirconium has a higher toxicity, at equal dose, than aluminum (test on mice).

It will set essentially in the ovaries and to a lesser degree

in the bones and the lungs.

Table 12.2. Toxicity of elements encountered in inorganic biomaterials

12.3.3.5. Inflammatory reaction connected with particles

Insoluble particles, irrespective of their nature, can provoke serious

inflammatory reactions. These phenomena can be compared to those provoked by

crystal coating disease: arthritis (whitlockite, apatite, calcium pyrophosphates), gout

(uric acid), calcification of tendons (calcium phosphates). The inflammatory reaction

is generally a periodic phenomenon which can however seriously damage the tissues

and the biomaterials and eventually lead to the loosening of the prosthetic device.

The predominant factor in the inflammatory phenomena connected with particles is

the size of the latter. Particles smaller than 50 micrometers are phagocyted by the

macrophages for possible degradation in the lysosomes. Phagocytose activate

macrophages which in turn synthesize various cytokines, growth factors which are

active on the effector cells. Among these are immunizing cells with remote action or

cells with local action like the osteoclasts which, once activated, are responsible for

massive bone destruction. The inflammatory phenomenon is all the more

accentuated the finer the size of the particles. Other factors are, however, involved,

such as chemical composition, crystallographic nature, crystal morphology,

composition of surface, the adsorption and desorption of proteins. Particles with

prominent angles, for example, appear more phlogogenic than those with a globular

morphology. However, the majority of studies on inflammatory processes have been

carried out on soft tissues and generally the inflammatory responses of bone tissues

appear more limited.