Cements

Bone defects are often irregular and their filling can conveniently be carried out

by hydraulic cements [DRI 95]. Plaster of Paris was one of the early cements to be

used in reconstructive surgery, but its rapid degradation has favored the emergence

of phosphocalcic cements, which have been the subject matter of considerable

development in the last few years. The applications for the filling of these bone

defects are very promising, whether in the form of a molded paste placed in the

516 Ceramic Materials

surgery site or in the form of an paste hardening in situ. These products are generally

biodegradable and are progressively being replaced by bone neo-formed tissue.

Two reactive principles can be used in phosphocalcic cements. The first consists

of achieving a reaction between one or more calcium phosphates, basic in nature

(rich in calcium) and one or more calcium phosphates, acidic in nature, (rich in

phosphate). In aqueous medium, the reaction between these phases leads to less

soluble new phases, whose crystallization brings about the setting. Various

combinations have been proposed. The second principle of cement formation

consists in using only one phase, whose hydrolysis leads to a crystallized phase and

the setting. The alpha tricalcium phosphate has been proposed; more recently, an

injectable cement with an amorphous phosphate base has been developed and

marketed [KNA 98].

The setting time of a cement is generally of the order of 15 to 45 minutes for

orthopedic or dental usage. The advantage of ionic cements is that they are easy to

use. Besides, they can easily be associated with the active principle (antibiotics,

growth factors). Nevertheless, their high porosity is harmful to their mechanical

resistance after hardening and the small size of pores does not favor cell

rehabitation.

12.4.4. Composites

Ceramic-polymer composites are generally obtained by traditional techniques of

component mixing. However, original methods have been developed, notably

injectable compounds with hydroxymethyl cellulose base capable of hardening in

vivo [WEI 97]. New avenues for research opened up, aimed at the mineralization of

organized organic matrices, rich in sites for calcium phosphate nucleation (biometric

processes). In order to help the nucleation of calcium phosphates on existing

polymer matrices, various techniques have been successfully used: phosphatation is

one of the most effective technique. It is inspired by the different methods of

calcification of bone tissues where the phosphoproteins and the phosphopolipides

will be involved in the nucleation phases and growth of apatitic phosphates. The

phosphatation of cellulose helps the mineral growth of calcium phosphate on fibers

which will be without particular affinity for calcium. Other techniques such as

silanation would also be effective.

The combinations between polymethylmethacrylate (PMMA), one of the widely

used polymer cements for prostheses stabilization and fixation, and apatites can be

achieved by using a phosphate monomer combined with apatite crystals. The

composites with compound matrices obtained did not show improvement in

Bioceramics 517

properties, biological or mechanical, justifying the additional cost involved in the

process [DEL 90].

The biomimetic processes can be used in the preparation of apatite-protein

composites at low temperature, in aqueous suspension. The proteins used generally

have the property of binding strongly with calcium phosphates (casein, albumin

etc.). Crystals of calcium phosphates involved are nanocrystalline and of apatitic

structure. The evaporation of water from the suspension results in solid materials

with generally reduced porosity and having mechanical properties close to those of

polymer cements but still relatively different from those of natural tissues [