Biomedical ceramics and their field of use

12.2.1. Usage properties of biomedical ceramics

Ceramics have numerous uses in the field of biomaterials, mainly because of

their physicochemical properties. Their chemical inertness helps to minimize

organic reactions of the host organism and their hardness and resistance to abrasion

makes them suitable for substitution of hard tissues (bones and teeth). Some

ceramics also have excellent tribological properties and are utilized in friction

couples intended to replace malfunctioning joints. Finally, other properties

(appearance, electrical insulation) also determine certain biomedical applications.

12.2.2. Multipurpose ceramics

A number of implanted ceramics have not actually been designed for specific

biomedical applications and are used in different implantable systems because of

their properties and their good biocompatibility.

12.2.2.1. Alumina

Alumina is one of the most widely used multipurpose ceramics. It is essentially

used in orthopedics for its good tribological properties and its outstanding chemical

inertia. One of the advantages of alumina is that it is a very bad substrate for the

crystalline growth of calcium phosphates, which can alter other friction couples

[ROY 93]. It constitutes the heads of femoral prostheses and is used also in the

development of the acetabulum. Early applications raised some problems of

Bioceramics 495

mechanical strength, now very rare, and led to the creation of wear debris. These

problems were attributed to different causes: too large grain size of sintered piece,

loosening at grain boundaries, insufficient density and shaping flaws. Today, the

alumina used have evolved and most of these problems have been eliminated.

Properties of alumina used have been stringently standardized. In all cases, it refers

exclusively to rhombohedral alpha phase, and high purity. The lifespan of alumina

heads is now very often longer than the patient’s. The main cause for failure is the

wear of high density polyethylene used in the acatebulum. Alumina acatebulum may

also be used. Their characteristics are identical to those of the heads, the essential

problem here being the alumina-bone contact. Alumina is in fact considered to be a

bioinert ceramic and it does not directly bind with the bone. There is always a thin

layer of fibrous tissue between the bone tissue and alumina which can cause

osteolysis, pain and loosening. Hip prosthesis stem made totally in alumina were

also developed, but these initiatives seem unlikely to lead to development on an

industrial scale, due to inadequate mechanical properties such as a very high

brittleness and a Young’s modulus which is very different from that of bone tissue.

Alumina has also been proposed as an adhesive underlayer for bioactive coating,

generally biodegradable, on the stem of metallic prostheses [DEM 98]. The

undercoat deposition is generally obtained by plasma spraying. However, this

process leads to several phases, whose biological properties are still little known.

Nevertheless, these phases are relatively more soluble than alpha alumina and the

release of aluminum in vivo can induce bone lesions (osteomalacia) [FRA 94]. Other

uses of alumina ceramics to be mentioned are: inner ear ossicles, ocular prostheses,

electrical insulation for pacemakers, catheter orifices. Finally, alumina is also used

in numerous prototypes of implantable systems (cardiac pumps for example).

12.2.2.2. Alumino-silicates and glasses

Alumino-silicates are essentially used in dental prostheses, either as massive

ceramic, or cermet or in ceramic-polymer composites. Polymers, usually associated

with alumino-silicates, are also increasingly used in the filling of cavities replacing

amalgams suspected to have toxic effects [MJO 97]. The alumino-silicates used are

characterized by a glassy structure, sometimes incorporating crystalline phases

(vitroceramic). Particular care is taken by manufacturers in the coloring of materials

to ensure a perfect visual integration with natural teeth. Contrary to artificial teeth in

resin, the color of tooth ceramic remains stable. However, the enamel of natural

teeth has often a tendency to turn yellow with age and differences may then appear.

More important problems like bonding with biologic tissue (bone, enamel, dentine,

oral epithelium) and mechanical strength arise in the case of crowns and implants.

From an esthetic point of view, the ceramic crown is superior to a metallic one or to

those made of cermets [BAS 98], but their making entails a high level of precision,

on the part of both practitioner and prosthesist. Their brittleness also leads to

breakages, notably on molars [FUZ 98]. Regarding mechanical properties,

496 Ceramic Materials

microstructure plays an important role in the resistance of ceramics, especially the

size and nature of crystalline phases which are associated with alumino-silicates

(mica, alumina, zircon, etc.). Moreover, they are relatively sensitive to fatigue.

Cermets always pose problems of metal-ceramic bonding and also appear less

resistant to abrasion than ceramics. These different materials introduced in the oral

cavity, do not seem to have any incidence on the development of dental plaque and

the appearance of dental caries. However, these can cause abrasion on the dental

enamel of the opposite teeth during mastication, which can result in losses much

more important than those caused by crowns in metal alloys. The reverse can also be

observed and some ceramics could be damaged prematurely by friction and pressure

on the opposite teeth. Progress is yet to be made in this respect.

Different types of fixation of crowns or implants have been studied. Implants,

more often in titanium, are directly fixed in the jawbone and are crowned by the

artificial tooth. An osteo-conductive bioceramic coating is sometimes done, as for

artificial hips, in order to favor the integration of the implant in bone (see section

12.2.3). Dental crowns are simply attached with organic resins, the positioning is

particularly crucial during the setting period and could determine the longevity of

the substitute.

Alumino-silicate glasses were also proposed as substitutes for bones; their

chemical composition is then adapted for making these materials bioactive and this