12.1. Introduction and history

Bioceramics are meant to be used as implants in living organisms or, more

generally, during prolonged contact with biological fluids or tissues. This broad

definition includes ceramics which are or could be used in extracorporeal circulation

systems (dialysis for example) or engineered bioreactors. However, this chapter will

deal essentially with ceramics used as implants.

The substitution of faulty organs or tissues has always been man’s

preoccupation. The first attempts at implantation probably date back to prehistoric

periods and most probably involved teeth, on account of their easy accessibility,

their nutritional role, and due to their social function, of course, and their place in

the collective imagination. We find traces of surgical attempts on skeletons,

particularly in such civilizations where it was customary to mummify the dead. The

most elaborate applications were carried out by Larrey, with the use of plaster of

Paris particularly for setting internal bone fractures. However, the extensive use of

bioceramics began after World War II, when the development of the medical

insurance system and the rapid technological progress led to a widespread use and

an improvement of these surgical interventions benefiting a larger number of people.

Biomedical ceramics used today essentially come from other fields of application.

However, various adaptations were necessary and ceramics for exclusively medical

use began to be developed. The place held by ceramics and polymers as well as

ceramic-polymer composites in the field of biomaterials will probably increase in

Chapter written by Christèle COMBES and Christian REY.

494 Ceramic Materials

the coming years at the expense of metals, whose physicochemical characteristics,

both mechanical and biological, are generally unsuitable for use as biomaterials,

apart from a few exceptions.

In practice, biomaterials are classified into three types depending on the reaction

of biological tissues with which these are in contact: biotolerated, bioinert and

bioactive materials. Biotolerated materials induce tissue alterations and are isolated

by a covering of fibrous tissue. Several metals and certain polymers come under this

category. Bioinert materials do not induce any visible tissue reactions; the majority

of ceramics belong to this group. Bioactive materials, on the other hand, favor tissue

repairs and the integration of associated devices. Some ceramics and various

polymers belong to this last category. Bioactive effects are aimed at very specific

tissues and the applications of these materials are oriented and limited to specific

organs or tissues. As far as ceramics are concerned, bioactivity is essentially used in

orthopedics. It favors bone repair and the integration of implants in bone tissue