LASER Q-SWITCHING-GIANT PULSES

The output of a normal mode, pulsed, solid-state laser is generally a train of irregular pulsations—irregular in peak power, pulse width and frequency of occurrence. It is possible to remove these irregularities and at the same time greatly increase the peak power by a technique called Q-switching. Q-switching lasers normally emit only one giant pulse in an operational cycle. The pulse will typically have a time duration less than one microsecond and a peak intensity of megawatts (106 watts) or even gigawatts (109). This same technique may be applied to continuously pumped lasers to produce a train of Q-switched pulses with regular duration, peak power, and frequency of occurrence.

Basic Principles of Q-Switching

Q-Switching is a mode of operating a laser in which energy is stored in the laser material during pumping in the form of atoms in the upper laser level and suddenly released in a single, short burst. This is accomplished by changing the feedback of the laser cavity. During pumping the HR mirror is effectively removed from the system, preventing lasing. After a large amount of energy has been stored in the active medium, the HR mirror is returned to proper alignment and operation, and most of the stored energy emerges in a single, short pulse.

The extremely short, high-energy output pulse will occur at a predictable time. This makes the Q-switched laser an ideal transmitter source for rangefinders and surveillance radar. Q-switched lasers are also used to produce rapid, localized heating in materials. If the enormously high peak power in the output pulse is concentrated or focused, the intensity of the focused beam represents sufficiently high electromagnetic field strengths to ionize the air and cause "breakdown"—just like a high dc voltage between a spark gap.

Q-switched lasers can be classified for study according to two criteria:

1. Whether they have a continuous or pulsed pumping source.

2. The methods and equipment used to "Q-switch" them.

The first portion of this discussion will describe the theory of Q-switching using a pulsed pumping source for the laser amplifier. The discussion will then apply this technique to continuously pumped laser systems. The latter portion of the discussion briefly describes several Q-switching techniques.

Figure 1 shows a typical time sequence of the generation of a Q-switched pulse. Lasing action is disabled in the cavity by a low Q of the cavity. Toward the end of the flashlamp pulse, when the inversion has reached its peak value, the Q of the resonator is switched to some high value. At this point a photon flux starts to build up in the cavity and a Q switch pulse is emitted. As illustrated in Fig. 1, the emission of the Q-switched laser pulse does not occur until after an appreciable delay, during which time the radiation density builds up exponentially from noise

Fig. 1 Development of a Q-switched laser pulse. The flashlamp output, resonator loss, population inversion, and photon flux as a function of time are shown.

Methods of Q-Switching

Several techniques have been used for Q-switching lasers. Each has its advantages, disadvantages, and specific applications. The three most important Q-switch types are discussed in this section. While many Q-switch characteristics are important to specific applications, the following four characteristics are generally most important:

1. Dynamic loss is the maximum loss introduced in the optical cavity when the Q-switch shutter is "closed." Ideally the dynamic loss should be 100% to ensure that lasing cannot occur until the Q-switch is opened.

2. Insertion loss is the minimum loss introduced by the presence of the Q-switch in the "open" condition. Ideally this is zero, but most Q-switches include optical surfaces that introduce reflection and scattering losses.

3. Switching time is the time necessary for the Q-switch to open. Faster switching times result in shorter, higher-peak-power pulses because the switch can become fully open before lasing has a significant effect on the population inversion. Slower switches allow significant amounts of the stored energy to be depleted before the Q-switch is fully opened. This lowers the maximum loop gain of the system and "stretches out" the output pulse.

4. Synchronization is an indication of how well the laser output can be timed with external events. Some Q-switches allow precise control of when the output pulse occurs. Others offer virtually no control at all.

Mechanical Q-Switches

Two of the devices in this category are a light chopper and a spinning mirror. See Figure2.

Fig. 2
Mechanical Q-switch (spinning mirror).

A light chopper is a spinning disc with a hole in it or a spinning blade (like a fan blade). The chopper is inserted into the optical cavity between the laser rod and the maximum reflectivity mirror. This system provides 100% dynamic loss and 0% insertion loss. A chopper is so slow, however, that it can Q-switch only a fraction of the beam area at a time as it is swept across the aperture. For this reason light chopper Q-switches are not practical or effective.

Spinning reflectors are used quite frequently in Q-switched systems where it is not necessary to closely synchronize the output to some other event. Usually the maximum-reflectivity mirror is rotated so that the mirror is tilted out of alignment. The system is Q-switched when the mirror rotates back into alignment (it is in alignment once each revolution). Rotating mirror Q-switches offer 100% dynamic loss and 0% insertion loss. The Q-switch speed can be made fast enough by rotating the mirror at high speed (20,000 to 60,000 rpm) or by various optical schemes to multiply the effect of the rotating element. Switching time is typically a few nanoseconds.

In both the chopper and spinning reflector, it is necessary to synchronize the firing of the flashlamps with the position of the spinning element so that the pumping pulse has occurred before the system is Q-switched. Synchronization of the output pulse in mechanical systems is poor. Rotating mirror Q-switches may be used with either pulsed or CW pumped lasers.

Electro-Optic Q-Switches

These devices—see Figure 3—usually require the placing of two elements into the reflecting cavity between the laser rod and the maximum reflecting mirror. These elements are a polarization filter (passive) and a polarization rotator (active). Producing a low cavity feedback with these devices involves rotating the polarization vector of the laser beam inside the cavity so that it cannot pass through the polarization filter. When this polarization rotation is removed, the cavity reflectivity is relatively high and the system will produce a giant pulse. Two of the electro-optic devices used in this application are Kerr cells and Pockel’s cells. Electro-optical Q-switches have high dynamic loss (99%) and relatively high insertion losses (15%) because of the losses in the optical elements. Switching time is fast, typically less than a nanosecond, and synchronization is good. Electro-optical Q-switches are well suited for pulsed systems but cannot be used with CW pumped lasers as their high insertion loss prevents lasing.

Fig. 3
Electro-optic Q-switch.