We measured the serum bilirubin concentrations in 2,416 consecutive infants admitted to our well-baby nursery. The maximum serum bilirubin concentration exceeded 12.9 mg/dL (221 µmol/L) in 147 infants (6.1%), and these infants were compared with 147 randomly selected control infants with maximum serum bilirubin levels ≤12.9 mg/dL. In 66 infants (44.9%), we identified an apparent cause for the jaundice, but in 81 (55%), no cause was found. Of infants for whom no cause for hyperbilirubinemia was found, 82.7% were breast-fed v 46.9% in the control group (P < .0001). Breast-feeding was significantly associated with hyperbilirubinemia, even in the first three days of life. The 95th percentile for bottle-fed infants is a serum bilirubin level of 11.4 mg/dL v 14.5 mg/dL for the breast-fed population, and the 97th percentiles are 12.4 and 14.8 mg/dL, respectively. Of the formula-fed infants, 2.24% had serum bilirubin levels >12.9 mg/dL v 8.97% of breast-fed infants (P < .000001). When compared with previous large studies, the incidence of "readily visibl" jundice (serum bilirubin level >8 mg/dL) appears to be increasing. The dramatic increase in breast-feeding in the United States in the last 25 years may explain this observation. There is a strong association between breast-feeding and jaundice in the healthy newborn infant. Investigations for the cause of hyperbilirubinemia in healthy breast-fed infants may not be indicated unless the serum bilirubin level exceeds approximately 15 mg/dL, whereas in the bottle-fed infant, such investigations may be indicated if the serum bilirubin exceeds approximately 12 mg/dL. If phototherapy is ever indicated in healthy term infants, the overwhelming majority of such infants are likely to be breast-fed; if breast-feeding is, indeed, the cause of such jaundice, a more appropriate approach to hyperbilirubinemia in the breast-fed infant might be to treat the cause (by temporary cessation of nursing) rather than (using phototherapy to treat) the effect.

TcB Measurement

TcB was measured on the forehead by using 1 of 2 identical BiliChek devices. The BiliChek devices were calibrated with a disposable tip (BiliCal) before each measurement; the device displays the average of 5 readings. Nurses performed BiliChek measurements following a training session that described use of the device according to the manufacturer’s instructions. TcB precision was assessed by repeated measurement on 40 infants, with an SD of 1.1 mg/dL (18.8 μmol/L) at an average TcB value of 12.0 mg/dL (205.2 μmol/L).

TsB Measurement

Serum samples were obtained by capillary puncture or venipuncture. For the study, 88 specimens were collected into plain (no additive) clear serum tubes (Terumo CapiJect, Somerset, NJ), and 89 serum samples were collected using an amber-colored gel barrier serum tube (Terumo CapiJect). The TsB is routinely measured using a modification of the diazo method. The diazo method used was the Amaresco DPD reagent (Amaresco, Solon, OH) or the Roche Total Bilirubin reagent (Roche Diagnostics, Indianapolis, IN) run on a Roche Modular Analytics system. Correlation between the 2 diazo methods based on 100 samples covering the reportable range of the assay was as follows: Roche T Bili = 0.9767 × Amaresco DPD – 0.09 mg/dL (1.54 μmol/L), with an r2 of 0.9978. Precision of the diazo method was assessed by replicate (n = 20) measurement of serum with a mean bilirubin value of 21.0 mg/dL (359.2 μmol/L), demonstrating an SD of 0.2 mg/dL (3.4 μmol/L) at this level. The Vitros method (Ortho Clinical Diagnostics, Rochester, NY) demonstrated similar precision.

The level of hemolysis (serum free hemoglobin) in each sample was determined by converting the hemolysis index measured by the Roche Modular Analytics system into a free hemoglobin level as described previously. When sample volume remained after routine serum bilirubin analysis (131 of 177 samples), samples were analyzed using the Vitros BuBc slide method on a Vitros 250 analyzer (Ortho Clinical Diagnostics). Unlike the diazo methods, which measure bilirubin by colorimetric reaction with 2,5-dichlorophenyl diazonium tetrafluoroborate dye, the Vitros BuBc slide uses a mordant to partially separate the spectra of unconjugated and conjugated bilirubin, allowing measurement of both species by reflectance spectrophotometry on a single slide.

Statistical Analysis

Median bias (TcB minus TsB) was calculated for the diazo and Vitros TsB data sets, along with 95% confidence interval (CI) of the median bias. Bias was assessed by testing the hypothesis that the slope of the regression of TsB on TcB was equal to 1 (indicating that the values were identical). A significant P value of less than .05 would mean that there was significant bias between the TcB and TsB values. Generalized estimating equations were also used to determine the impact of gestational age, postnatal age in hours, the mother’s ethnicity (Caucasian vs non-Caucasian), blood collection technique (capillary puncture vs venipuncture), hemolysis level, and collection container (clear vs amber) on the relationship between TcB and TsB values. Significance of any change in median

bias (ie, Caucasian vs non-Caucasian, capillary puncture vs venipuncture) was defined as a P value less than .05. Because most data sets were not normally distributed, continuous data are summarized as median values, with interquartile range and minimum and maximum values observed. Bland-Altman plots were used to display the relationship of TcB to TsB across the range of bilirubin values observed. CIs for sensitivity and specificity were calculated by using the Fisher exact test.

The clinical significance of differences between TcB and TsB was defined by risk level determination which plots the bilirubin level as a function of postnatal age in hours, from 0 to 144 hours of life. For each TcB and TsB measurement, the risk zone (low, low-intermediate, high-intermediate, high) was determined by using the Web site bilitool.org, which allows the user to determine risk category according to Bhutani et al17 by entering the bilirubin level and the infant’s age in hours. Bilirubin levels exceeding the 75th percentile for age in hours are considered high-intermediate risk, and bilirubin levels exceeding the 95th percentile for age are considered high risk.

Results

Relationship Between TcB and TsB

TcB consistently overestimated concentrations of TsB by thediazo and Vitros methods. The median TcB concentration was 12.2 mg/dL (208.6 μmol/L), while median diazo TsB bilirubin level was 10.1 mg/dL (172.7 μmol/L). For the 131 samples analyzed by Vitros, the median Vitros TsB bilirubin level was 10.9 mg/dL (186.4 μmol/L; Table 1). The median bias between the TcB and diazo TsB was 2.0 mg/dL (34.2 μmol/L; 95% CI, 1.9-2.3 mg/dL [32.5-39.3 μmol/L]), and the median bias between the TcB and Vitros TsB was 1.3 mg/dL (22.2 μmol/L; 95% CI, 1.0-1.6 mg/dL [17.1-27.4 μmol/L]). Both bias measurements were statistically significant (P < .001). Correlation between methods was calculated as follows: y(TcB) = 0.89x (diazo TsB) + 3.3 mg/dL (56.4 μmol/L); r2 = 0.65; and y(TcB) = 0.90x (Vitros TsB) + 2.5 mg/dL (42.8 μmol/L); r2 = 0.66.